# adex-FIBRECEMENT

This document contains information made available to specialised designers, architects, engineers or other professionals, as a guide only, to help them prepare a technical specification.  Specialised designers, architects, engineers or other professionals bear the complete responsibility of evaluating usability, conformity and relevance of the information in view of the particular project and they commit to verify all technical data in the present document in order to assess their suitability in the project.  When such use is done by specialised designers, architects, engineers or other professionals, they take full responsibility for the information as if it were their own.  Use by a non-specialised person is strongly advised against.

This document replaces any specification issued prior to June 2014

PART 1.	GENERAL

  - Related Sections

- Section 05 40 00:	Cold-Formed Metal Framing

- Section 06 10 00:	Rough Carpentry

- Section 07 60 00:	Flashing and Sheet Metal

- Section 07 90 00:	Joint Protection

  - Description

    - The adex-FIBRECEMENT system is a fibre-reinforced proprietary stucco assembly that provides increased durability, weather-fastness, and aesthetic value.  The system is available in several textures and a wide range of colours. The system affords creative architectural design, with the use of reveals, battens and cornice details.

    - The adex-FIBRECEMENT system consists of the following components:

- Weather Resistant Barrier (WRB) applied over the substrate (as per 9.27.3.3 of the NBC 2005);

- Polystyrene (EPS) insulation (optional);

- Metal lath and trim accessories;

- Fibre-reinforced proprietary stucco basecoat (LAHABRA WALL);

- 100% acrylic primer coat;

- 100% acrylic polymer finish coat.

  - Design Requirements

    - All work undertaken must comply with the current codes and norms, best practice guides, as well as the manufacturer’s installation instructions.

    - The substrate shall be engineered to withstand all applicable loads, including live, dead, seismic, suction, etc.

    - FIBRECEMENT applications shall be sloped a minimum of 6:12 to allow for positive drainage.

    - Substrate conditions:

      - Sheathing substrates shall be sound, dry and free of dust, dirt, and other contaminants.

      - Substrate dimensional tolerances: Plumb and level with maximum variance of 6.4 mm (1/4" inch) over any 1.2 m (4 ft) radius to ensure a uniform thickness of the basecoat.

      - Maximum deflection of substrate assembly under positive or negative loads shall not exceed L/360 of span.

      - The substrate shall be protected with a waterproofing membrane sealed at all joints and openings.

    - Expansion Joints:

      - Sheathing substrates shall be sound, dry and free of dust, dirt, and other contaminants.

      - Continuous expansion joints shall be installed at the following locations:

- At floor levels of all buildings;

- At floor levels where a deflection track is present;

- Anywhere there is an existing expansion joint in the building;

- Where dissimilar materials or substrates meet;

- Where deflection higher than L/240 is expected.

      - As per ASTM C1063, vertical walls shall have a maximum continuous area of 13.4 m2 (144 ft2) without expansion/control joints.  Horizontal applications shall not have a continuous area greater than 9.3 m2 (100 ft2) without expansion/control joints.  The distance between expansion joints shall not exceed 5.5 m (18 ft) in either direction or a length-to-width ratio of 63 – 25 mm (2-1/2" to 1" inch).

      - Location and frequency of expansion/control joints shall be detailed by the Design Professional and shown on all drawings where applicable.

  - Quality Assurance

    - Manufacturers

      - FIBRECEMENT system manufacturer shall be Adex Systems Inc.

      - The manufacturers of insulation boards, lath, fasteners, and all other third-party materials shall be recognized by Adex Systems Inc.

    - Applicators

      - Applicators shall be approved by Adex Systems Inc. (the manufacturer).

      - Applicator shall have a minimum of (2) two-years of experience in applying stucco and EIFS coatings systems and employ sufficient, knowledgeable personnel to complete the work on schedule.

      - Applicator shall follow all manufacturer's directions and all applicable standards and codes when installing system components.

    - Inspection

      - System Manufacturer or Representative shall inspect completed work by the Applicator based on the schedule set forth by the Design Professional.

  - Delivery & Storage

    - Deliver materials to the job site in their original unopened packages, clearly marked with the manufacturer's name, and description of contents.

    - Store in a clean, dry, well-ventilated area at a temperature not less than 4ºC (40ºF).

    - Protect materials from the elements of weather, and keep away from excessive heat (temperatures above 32ºC (90ºF)).

    - Remove wet, frozen, damaged or detrimental materials from site immediately.

  - Architectural Samples

    - Adex or its distributor to provide a minimum 200mm x 200mm (8"x8") sample for colour and texture approval.  Approved samples shall be maintained and available at job site.

    - Do not start any final work until the Consultant gives final approval of sample(s).

  - Job Mock-Up

    - Construct a mock-up panel on site as part of the actual wall at a location as directed by the Consultant.  The approved mock-up panel shall form a standard for the project and no work of inferior quality will be allowed.   The mock-up shall match sample panel(s) submitted to the Consultant as described in paragraph 1.6.3 of this Section.

  - Job Conditions

    - Ambient and surface temperatures shall be minimum 4ºC (40ºF) during installation.  See NOTE under paragraph 3.3.6.1. for temperature requirements for one-coat applications.

    - When installing in climatic temperatures below 4ºC (40ºF), tarping, heating and ventilation shall be provided to maintain proper installation temperatures.  Maintain protection in place until completion of work.

    - Ambient temperature shall be maintained above 4ºC (40ºF) and rising for a minimum of 48 hours after installation to ensure that drying is complete.  Allow for extended drying times in cool, higher humidity conditions. Maximum ambient air temperature must be 49°C (120°F).  Protect stucco from uneven and excessive evaporation during hot, dry weather.

    - Installation of Adex materials shall be coordinated with other construction trades

  - Alternatives

    - Systems considered equivalent to adex-FIBRECEMENT system shall be approved by the architect, in writing, at least ten (10) working days prior to the project bid date.

  - Warranty

    - Upon request, the manufacturer shall provide a (5) five-year limited warranty, stating that materials conform to specifications and are free of manufacturing defects.

PART 2.	PRODUCTS

  - Manufacturer

    - All components of the adex-FIBRECEMENT system shall be obtained from Adex Systems Inc. or its authorised distributors.  No substitution or addition of other material is permitted without written consent from the manufacturer.

  - Products

    - Weather Resistant Barrier (WRB)

      - Shall conform to CAN/CBSB-51.32-M as per 9.27.3.2 of the National Building Code (NBC 2005).

      - Two layers of No.30 (ASTM D 226-97a) Grade D paper, over all sheathing substrates; or equivalent as required by current national and local codes.

NOTE: Design and location of all air and vapour barriers is the responsibility of the Design Professional.

    - Polystyrene Insulation

      - Over open framing: Tongue and groove expanded (EPS), or extruded (XPS) polystyrene, having a minimum density of 21 Kg/m3 (1.5 Lb/ft3).

      - Over sheathing: Expanded (EPS), or extruded (XPS) polystyrene, having a nominal density of 14 Kg/m3 (1 Lb/ft3).

      - Metal accessories: Manufacturer’s standard steel products with G60 galvanizing or if indicated, rigid polyvinyl chloride (PVC plastic) or zinc alloy coatings.

NOTE: Delete Section 2.2.2 as applicable to project.

    - Lath & Trim Accessories

      - Shall conform to ASTM C1063 lathing and furring.

      - Exterior Lath: Minimum 16-gauge, galvanized self-furred stucco wire as per NBC 2005 subsection 9.28.4. Expanded metal diamond lath 1.35 Kg/m2 (2.5 Lb/yd2) may also be used in accordance with applicable codes.

      - Terminations: 26-gauge metal J-Trim or Stucco plaster stop, general-purpose type with expanded or perforated flanges.

      - Corner Reinforcement: Welded wire, 18-gauge, galvanized pre-formed corner reinforcement made from 0.059 Kg/m2 (1.7 Lb/yd2) diamond mesh lath.

      - Square Edge Casing Beads: Expanded or flanged to suit application. (To create square corners).

      - Round-Edged Casing Beads: Expanded or flanged to suit application. (To create rounded corners).

      - Control Joints: Single component control joints with 6.25 mm (1/4" inch) slot and 19 mm (3/4" inch) grounds, or equal.

      - Expansion Joints: Two piece adjustable expansion joints, free floating adjustments from 6.25 mm (1/4" inch) to 15.6 mm (5/8" inch).

      - Weep Screeds: Foundation weep screed, with perforations and minimum 88.9 mm (3-1/2" inch) vertical attachment flange.

      - Wall Penetrations: 1.84 Kg/m2 (3.4 Lb/yd2) density expanded metal strip lath, 100 mm (4" inch) wide to be used around all windows, doorways, wall openings.

      - Soffits: 1.84 Kg/m2 (3.4 Lb/yd2) density expanded metal lath for use on all soffits and overhangs as shown on drawings.

    - Mechanical Fasteners

      - All Fasteners for attaching lath shall be made of galvanized steel.

      - Fasteners for wood framing members:

- Staples shall be 16-gauge with a minimum 3/4" inch (19 mm) crown and shall engage not less than three strands of lath.  They shall be of sufficient length to penetrate wood based sheathing and framing members minimum 25mm (1" inch) into vertical wood structural members and minimum 44 mm (1-3/4" inch) into overhead horizontal wood structural members.  For non-wood based sheathing, staples shall penetrate the wood framing members a minimum of 25mm (1" inch).

- Galvanized roofing nails with length (1-1/2" typical) sufficient enough to penetrate into wood structural members minimum 19 mm (3/4" inch) and engage not less than three strands of lath.

- Screws shall penetrate into wood structural members minimum 19 mm (3/4" inch) engaging not less than three strands of lath.

- Screws for expanded metal lath: minimum 11 mm (7/16" inch) diameter wafer head.

- Screws for woven wire stucco mesh or welded wire lath: bugle head screw with minimum 25 mm (1" inch) diameter G60 galvanized steel washer (with center countersink).

      - Fasteners for metal framing members:

- Screws shall project through framing members not less than 9.5mm (3/8" inch) and shall not have less than three full diameter threads projecting through the framing member.

- Screws for expanded metal lath: minimum 11 mm (7/16" inch) diameter wafer head.

- Screws for woven wire stucco mesh or welded wire lath: bugle head screw with minimum 25 mm (1" inch) diameter G60 galvanized steel washer (with center countersink), but not less than 25 mm (1" inch) for woven wire or welded wire lath.

      - Fasteners for concrete and concrete masonry:

- Screws for expanded metal lath: minimum 11 mm (7/16" inch) diameter wafer head.

- Power driven pins of sufficient length to penetrate 19 mm (3/4" inch) or threaded fasteners inserted to the fastener manufacturer’s specified depth.  Washer diameter for fasteners as specified by the fastener manufacturer.

    - Fibre Reinforced Basecoat

      - Fibre-reinforced Portland cement LAHABRA WALL stucco basecoat: LAHABRA WALL ® Concentrate is a factory formulated, concentrate stucco basecoat consisting of Portland cement, lime, fibers, and proprietary ingredients.

(The following stucco specification was written around LaHabra’s proprietary and factory-blended LAHABRA WALL® stucco. Therefore, all substitution requests must be proven to be of equal quality no less than ten (10) days prior to project bid date).

      - Water: Potable.

      - Sand: Shall comply with all requirements of ASTM C897.

    - Primer

      - Shall be a tinted, acrylic-based, roll-on priming agent, such as PRIMEX PRIMER, manufactured by Adex Systems Inc.  PRIMEX PRIMER not mandatory but highly recommended as it will enhance the depth of color, increase the yield of finish coat, and enhance the longevity of the finish coat.

    - Finish Coat

      - Shall be a factory-mixed, 100% acrylic-based Adex Finish Coat, containing integral colour and texture.

      - The texture shall be [See the Adex Specification Binder or visit www.adex.ca to view the various textures.

  - Tests

    - Tests performed by an independent laboratory on the specified materials can be requested.

    - The adex-FIBRECEMENT system has been tested in accordance with the following tests and methods:

| Test Name | Test Method |
| --- | --- |
| Accelerated Weathering | ASTM G-23 |
| Cyclic Aging | ASTM B-1183 |
| Compressive Strength | ASTM C-472 |
| Compressive Strength | ASTM C-109 |
| Flexural Strength | ASTM C-348 |
| Transverse Load | ANSI/ASTM E-330 |
| Flame Spread | ASTM E-84 |
| Vertical Flame Spread | ASTM E-108 MOD |
| Vertical Furance | ASTM E-136 |
| Water Penetration | ASTM C-413 |
| 1-Hour Fire Endurance | ASTM E-119 |
| Multi-Story Fire Evaluation | UBC 17-6 NES |
| Fire Rating | NER-547 ICBO Fire Rating ICBO-ER4226 |

PART 3.	EXECUTION

  - Instructions

    - Comply with manufacturer's instructions for installation base and finish coats.

  - Inspection

    - Prior to installation, the applicator must examine the substrate as follows:

      - Substrate shall be of a type listed in ICC ES ER 4226 (Section 2.1). Code-conforming wood-based sheathings must be gapped 1/8 inch (3 mm) between panels.

      - Substrate shall be examined for soundness, and/or other harmful conditions.

      - Substrate shall be free of dust, dirt, efflorescence, and other contaminants.

      - Notify contractor of discrepancies preventing installation of the stucco assembly.

    - Verify that the weather resistant barrier and flashings are installed in compliance with requirements of applicable codes, regulations, and agencies having jurisdiction.

    - Verify that lath is tight, properly secured, and that all accessories are properly set.

    - Isolation: Where lath and metal support assembly abuts building structure horizontally, and where partition wall work abuts the overhead structure, isolate work from structure movements. Install expansion or control joints to absorb deflections but maintain lateral support. Frame both sides of expansion joints separately and do not bridge joints with furring or lath.

    - Examine substrates, grounds and accessories to insure that finished stucco work will be true to line, plane, level and plumb.

  - Preparation

    - Ensure conduit pipes, cables and outlets are adequately covered before commencing with installation.

    - Adjacent finish work (such as brick, siding, concrete, etc.) must be protected from damage during the installation of the adex-FIBRECEMENT system.

  - Preparation for Masonry Substrates: Direct Bond Applications

    - Verify that masonry and concrete surfaces to receive direct bond applications of stucco basecoats are rough, free from form release agents and otherwise properly prepared to provide for adequate bond.

    - Apply a uniform coating of the acrylic bonding agent in accordance with manufacturer’s recommendations and instructions.

  - Mixing

    - LAHABRA WALL FIBRECEMENT basecoat:

      - Mix the contents of one (1) bag of LAHABRA WALL fibrecement with 15 to 17 L (4.0 to 4.5 Gallons) of water (depending on the moisture content of the pail) and 18 (eighteen) #2 shovels of 2-3 mm washed graded sand.

      - The amount of sand can be checked by using the following rule: Five (5) shovels of sand should fill a 20 (twenty) Litre bucket.  Maximum 240 Lbs of sand per bag of LAHABRA WALL.

  - Installation

    - Apply stucco basecoat in accordance with manufacturer’s instructions and recommendations as written in LaHabra data sheets, and in compliance with requirements of applicable codes, regulations and agencies having jurisdiction.

    - Interrupt stucco application only at junctions of stucco planes, at openings, at control joints or at expansion joints.

    - Basecoat:

      - Apply LAHABRA WALL basecoat by hand trowelling or machine spraying to a minimum 12.5mm (1/2" inch) thickness (from the face of the sheathing) in one or two coats.

NOTE: When the basecoat is applied in one coat, the ambient temperature must be 15ºC (59ºF) or greater to allow the basecoat to be floated the same day.  When basecoat is applied in two coats the ambient temperature must be greater than 4ºC (40ºF).

      - Apply sufficient trowel pressure or spray velocity to key stucco into lath or onto direct bond substrate.  The lath must be fully embedded into the first coat of LAHABRA WALL.

      - The surface of the first coat shall be scored to provide a key and enhance bonding to the second coat.

      - The second coat is applied, smooth to a maximum variation of 3 mm (1/8" inch) over 2.5 m (8.2 ft) in any plane and lightly roughened (sponge floated) to provide a key with the acrylic finish coat.

      - Allow the LAHABRA WALL to cure for a period of48 hours prior to applying the primer and finish coat.  Frequently moist cure the cement basecoat with a misting of clean water during the 48 hour cure period.

    - Primer

      - Apply an even coat of Adex PRIMEX PRIMER (tinted to the same colour as the finish coat) with a good-quality paintbrush, 10mm (3/8") nap roller, or sprayer.

      - Allow PRIMEX PRIMER to dry before commencing with the Finish Coat.

    - Finish Coat

      - Trowel-apply a tight coat of Adex Finish Coat, texture [see Adex Specification Binder] to a thickness not greater than the largest aggregate. Apply the finish coat with a stainless steel trowel in a continuous fashion, maintaining a wet edge.  Levelling and texturing shall take place in one operation to give the Adex Finish Coat a uniform appearance.

      - Avoid applications in direct sunlight.

      - Avoid applying finish coat at locations where caulking will be installed.

      - Weather conditions will be a factor in the application and drying time of the Finish Coat.

  - Protection

    - Ensure that the general contractor protects all work against moisture infiltration and other damages by installing the necessary flashing and caulking in a timely manner.

    - Provide protection against dirt, moisture, high humidity, and freezing temperatures until materials are fully dry.

  - Clean Up

    - Repair damaged exterior wall finish coat to match surrounding finish.

    - Remove excess finish and protective materials from adjacent surfaces.

    - Remove all excess materials from the project site.

ALL REQUESTS FOR APPLICATION PROCEDURAL CHANGES MUST BE AUTHORIZED IN WRITING BY ADEX SYSTEMS INC.

END OF TEXT SECTION.

Information in this document contains the current recommendations for the installation of the ADEX-RS system.  It is only provided as a guide and is subject to modifications at any time without notice.  ADEX Systems Inc. reserves the right to make any modification according to technological progress. Specialised designers, architects, engineers or other professionals that choose to make any use of this information bear the complete responsibility, whatever it be, direct or indirect, that could follow from such use.   ADEX Systems Inc. does not bear any responsibility that could give way to damages, defaults, defects, deficiencies, prejudices, loss or decrease of profit, be they direct or indirect, resulting from such use of this information by specialised designers, architects, engineers or other professional.

adexSYSTEMS
SYSTÈMESadex

CORPORATE SALES CENTER 
CENTRE DES AFFAIRES
7911, Marco Polo
Montréal (Québec) Canada H1E 1N8
www.adex.ca
T 514-648-1213 | F 514-648-9597

architectural COATINGS

ENDUITS architecturaux

June 2014